## Summary
| TDD8760 | Enerfit | CF Model | Current M&V | Simple EFLH
Building Annual KWH | 45611899 | 45611899 | 45611899 | 45611899 | 45611899
Pre KWH | 6919873.9478 | 6270031 | 5016024.8 | 14173300.2008 | 4639145.0487
Post KWH | 2556739.7782 | 2145173 | 2252431.65 | 8445135.4889 | 3884421.3513
Sav KWH | 4363134.1696 | 4124858 | 2763593.15 | 5728164.7119 | 754723.6974
% Reduction | 63.05% | 65.79% | 55.1% | 40.42% | 16.27%
Pre Ratio | 1 | 0.90609 | 0.72487 | 2.0482 | 0.67041
Post Ratio | 1 | 0.83903 | 0.88098 | 3.3031 | 1.5193
Sav Ratio | 1 | 0.94539 | 0.6334 | 1.3129 | 0.17298
HVAC % TOTAL KWH | 15.17% | 13.75% | 11% | 31.07% | 10.17%
| 559817.8024 | 507245.5079 | 405796.4063 | 1146619.9862 | 375306.8344
| 206840.2481 | 173544.4957 | 182221.7205 | 683211.4611 | 314249.6873
| 352977.5543 | 333701.0122 | 223574.6858 | 463408.5252 | 61057.1471
| 243.9293 | 221.022 | 176.8176 | 499.6166 | 163.5324
| 90.1265 | 75.6185 | 79.3994 | 297.6956 | 136.928
| 153.8029 | 145.4035 | 97.4182 | 201.9209 | 26.6044

## BGHE_portfolio_summary
portfolio-id | site-count | asset-count | x-tons | x-hp | x-avg-age | x-avg-weighted-age | x-avg-eer | x-avg-weighted-eer | n-tons | n-hp | n-avg-age | n-avg-weighted-age | n-avg-eer | n-avg-weighted-eer | pre-kwh-hvac-yearly | post-kwh-hvac-yearly | sav-kwh-hvac-yearly | ENFT-PRE KWH | ENFT-POST KWH | ENFT-SAV-KWH | ENFT-CNSRV-PRE KWH | ENFT-CNSRV-POST KWH | ENFT-CNSRV-SAV-KWH | SCH-PRE-KWH | SCH-POST-KWH | SCH-SAV-KWH | PETE-PRE-KWH | PETE-POST-KWH | PETE-SAV-KWH
BGHE | 4 | 151 | 2174.5 | 697.02 | 10.0464 | 10.5316 | 9.722 | 9.8744 | 2174.5 | 697.02 | 4.0662 | 4.7818 | 11.7203 | 11.6579 | 6919873.9478 | 2556739.7782 | 4363134.1696 | 6270031 | 2145173 | 4124858 | 5016024.8 | 2252431.65 | 2763593.15 | 14173300.2008 | 8445135.4889 | 5728164.7119 | 4639145.0487 | 3884421.3513 | 754723.6974

## BGHE_site_summary
site-id | address | latitude | longitude | asset-count | EFLH-C | x-tons | x-hp | x-avg-age | x-avg-weighted-age | x-avg-eer | x-avg-weighted-eer | n-tons | n-hp | n-avg-age | n-avg-weighted-age | n-avg-eer | n-avg-weighted-eer | pre-kwh-hvac-yearly | post-kwh-hvac-yearly | sav-kwh-hvac-yearly | ENFT-PRE KWH | ENFT-POST KWH | ENFT-SAV-KWH | ENFT-CNSRV-PRE KWH | ENFT-CNSRV-POST KWH | ENFT-CNSRV-SAV-KWH | SCH-PRE-KWH | SCH-POST-KWH | SCH-SAV-KWH | PETE-PRE-KWH | PETE-POST-KWH | PETE-SAV-KWH
Tulsa | Tulsa, OK | 36.154 | -95.9928 | 25 | 1726.1641 | 411 | 125.33 | 7.4 | 8.1022 | 10.0434 | 10.3628 | 411 | 125.33 | 4.36 | 5.8467 | 11.7678 | 11.9019 | 1240828.6505 | 472851.3895 | 767977.261 | 1207248 | 425859 | 781389 | 965798.4 | 447151.95 | 518646.45 | 2594887.7121 | 1618921.2304 | 975966.4816 | 829227.518 | 717948.8744 | 111278.6436
Lowry | Lowry, OK | 35.541 | -97.515 | 21 | 1726.1641 | 504.5 | 166.5 | 10.4286 | 8.9395 | 10.2934 | 10.6365 | 504.5 | 166.5 | 6.5238 | 7.6363 | 12.0951 | 12.1948 | 1569078.8313 | 562079.454 | 1006999.3773 | 981622 | 387261 | 594361 | 785297.6 | 406624.05 | 378673.55 | 3170955.3324 | 2061110.756 | 1109844.5764 | 987324.8924 | 859237.172 | 128087.7204
Anderson | Anderson, OK | 35.8264 | -96.9903 | 45 | 1726.1641 | 790 | 288.19 | 12.5111 | 13.5038 | 9.1667 | 9.2253 | 790 | 288.19 | 2.5111 | 2.8937 | 11.4961 | 11.1821 | 2782804.188 | 966118.41 | 1816685.778 | 2645834 | 868370 | 1777464 | 2116667.2 | 911788.5 | 1204878.7 | 5368103.3936 | 2990279.2448 | 2377824.1488 | 1805337.8773 | 1472599.1519 | 332738.7253
Shawnee | Shawnee, OK | 35.3273 | -96.9253 | 60 | 1726.1641 | 469 | 117 | 9.1667 | 9.3667 | 9.8047 | 9.7201 | 469 | 117 | 4.25 | 3.9584 | 11.7374 | 11.6677 | 1327162.278 | 555690.5247 | 771471.7533 | 1435327 | 463683 | 971644 | 1148261.6 | 486867.15 | 661394.45 | 3039353.7628 | 1774824.2577 | 1264529.5051 | 1017254.761 | 834636.153 | 182618.6081

## BGHE_asset_summary
site | asset-id | x_tons | x_hp | x_age | x_eer | x_vfd | strategy | n_tons | n_hp | n_age | n_eer | n_vfd | pre-kwh-hvac-yearly | post-kwh-hvac-yearly | sav-kwh-hvac-yearly | ENFT-PRE KWH | ENFT-POST KWH | ENFT-SAV-KWH | ENFT-CNSRV-PRE KWH | ENFT-CNSRV-POST KWH | ENFT-CNSRV-SAV-KWH | SCH-PRE-KWH | SCH-POST-KWH | SCH-SAV-KWH | PETE-PRE-KWH | PETE-POST-KWH | PETE-SAV-KWH
Anderson | Anderson-8 | 50 | 20 | 16 | 8.24 | FALSE | Replace | 50 | 20 | 0 | 10.4 | TRUE | 193403.0405 | 65383.6163 | 128019.4242 | 189532 | 56415 | 133117 | 151625.6 | 59235.75 | 92389.85 | 356075.1662 | 182990.7839 | 173084.3823 | 125691.5609 | 99586.3905 | 26105.1703
Anderson | Anderson-6 | 50 | 20 | 18 | 8.24 | FALSE | Replace | 50 | 20 | 0 | 10.4 | TRUE | 193403.0405 | 65383.6163 | 128019.4242 | 189532 | 56415 | 133117 | 151625.6 | 59235.75 | 92389.85 | 363495.7711 | 182990.7839 | 180504.9872 | 125691.5608 | 99586.3905 | 26105.1703
Anderson | Anderson-7 | 50 | 20 | 18 | 8.24 | FALSE | Replace | 50 | 20 | 0 | 10.4 | TRUE | 193403.0405 | 65383.6163 | 128019.4242 | 189532 | 56415 | 133117 | 151625.6 | 59235.75 | 92389.85 | 363495.7711 | 182990.7839 | 180504.9872 | 125691.5608 | 99586.3905 | 26105.1703
Anderson | Anderson-1 | 50 | 20 | 19 | 8.24 | FALSE | Replace | 50 | 20 | 0 | 10.4 | TRUE | 193403.0405 | 65383.6163 | 128019.4242 | 189532 | 56415 | 133117 | 151625.6 | 59235.75 | 92389.85 | 367291.0401 | 182990.7839 | 184300.2562 | 125691.5608 | 99586.3905 | 26105.1703
Anderson | Anderson-15 | 50 | 20 | 19 | 8.24 | FALSE | Replace | 50 | 20 | 0 | 10.4 | TRUE | 193403.0405 | 65383.6163 | 128019.4242 | 189532 | 56415 | 133117 | 151625.6 | 59235.75 | 92389.85 | 367291.0401 | 182990.7839 | 184300.2562 | 125691.5608 | 99586.3905 | 26105.1703
Anderson | Anderson-2 | 50 | 20 | 19 | 8.24 | FALSE | Replace | 50 | 20 | 0 | 10.4 | TRUE | 193403.0405 | 65383.6163 | 128019.4242 | 189532 | 56415 | 133117 | 151625.6 | 59235.75 | 92389.85 | 367291.0401 | 182990.7839 | 184300.2562 | 125691.5608 | 99586.3905 | 26105.1703
Anderson | Anderson-5 | 50 | 20 | 19 | 8.24 | FALSE | Replace | 50 | 20 | 0 | 10.4 | TRUE | 193403.0405 | 65383.6163 | 128019.4242 | 189532 | 56415 | 133117 | 151625.6 | 59235.75 | 92389.85 | 367291.0401 | 182990.7839 | 184300.2562 | 125691.5608 | 99586.3905 | 26105.1703
Anderson | Anderson-18 | 50 | 20 | 8 | 10.86 | FALSE | Retrofit | 50 | 20 | 8 | 12.2558 | TRUE | 172350.5656 | 54472.7497 | 117877.8159 | 178138 | 56529 | 121609 | 142510.4 | 59355.45 | 83154.95 | 306673.7124 | 205625.0281 | 101048.6843 | 95368.1825 | 84507.1295 | 10861.053
Anderson | Anderson-19 | 50 | 20 | 8 | 10.86 | FALSE | Retrofit | 50 | 20 | 8 | 12.2558 | TRUE | 172350.5656 | 54472.7497 | 117877.8159 | 178138 | 56529 | 121609 | 142510.4 | 59355.45 | 83154.95 | 306673.7124 | 205625.0281 | 101048.6843 | 95368.1825 | 84507.1295 | 10861.053
Tulsa | Tulsa-75 | 30 | 15 | 3 | 10.86 | FALSE | Retrofit | 30 | 15 | 3 | 11.3637 | TRUE | 119331.2986 | 34817.266 | 84514.0326 | 125068 | 38248 | 86820 | 100054.4 | 40160.4 | 59894 | 169418.5355 | 108549.1569 | 60869.3786 | 57220.9095 | 54684.3995 | 2536.5099
Tulsa | Tulsa-73 | 30 | 10 | 10 | 10.86 | FALSE | Retrofit | 30 | 10 | 10 | 12.6319 | TRUE | 92796.3665 | 32055.2667 | 60741.0998 | 94759 | 32025 | 62734 | 75807.2 | 33626.25 | 42180.95 | 188196.3861 | 127327.0074 | 60869.3786 | 57220.9095 | 49194.5578 | 8026.3517
Tulsa | Tulsa-86 | 30 | 15 | 16 | 8.24 | FALSE | Replace | 30 | 15 | 0 | 10.4 | TRUE | 131962.7836 | 38666.8032 | 93295.9804 | 86442 | 37590 | 48852 | 69153.6 | 39469.5 | 29684.1 | 214371.437 | 110541.8812 | 103829.5558 | 75414.9365 | 59751.8343 | 15663.1022
Anderson | Anderson-16 | 25 | 15 | 12 | 8.24 | FALSE | Replace | 25 | 15 | 0 | 10 | TRUE | 123236.4524 | 33135.6517 | 90100.8006 | 79612 | 34070 | 45542 | 63689.6 | 35773.5 | 27916.1 | 170945.1116 | 95351.0656 | 75594.046 | 62845.7804 | 51784.9231 | 11060.8574
Anderson | Anderson-17 | 25 | 15 | 12 | 8.24 | FALSE | Replace | 25 | 15 | 0 | 10 | TRUE | 123236.4524 | 33135.6517 | 90100.8006 | 79612 | 34070 | 45542 | 63689.6 | 35773.5 | 27916.1 | 170945.1116 | 95351.0656 | 75594.046 | 62845.7804 | 51784.9231 | 11060.8574
Tulsa | Tulsa-76 | 30 | 7.5 | 9 | 10.86 | FALSE | Retrofit | 30 | 7.5 | 9 | 12.4424 | TRUE | 79528.9005 | 33100.0839 | 46428.8166 | 79605 | 28914 | 50691 | 63684 | 30359.7 | 33324.3 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Tulsa | Tulsa-79 | 30 | 7.5 | 9 | 10.86 | FALSE | Retrofit | 30 | 7.5 | 9 | 12.4424 | TRUE | 79528.9005 | 33100.0839 | 46428.8166 | 79605 | 28914 | 50691 | 63684 | 30359.7 | 33324.3 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Tulsa | Tulsa-74 | 30 | 7.5 | 8 | 10.86 | FALSE | Retrofit | 30 | 7.5 | 8 | 12.2558 | TRUE | 79528.9004 | 33628.1173 | 45900.7832 | 79605 | 28914 | 50691 | 63684 | 30359.7 | 33324.3 | 184643.2258 | 123773.8471 | 60869.3786 | 57220.9095 | 50704.2777 | 6516.6318
Tulsa | Tulsa-85 | 30 | 7.5 | 8 | 10.86 | FALSE | Retrofit | 30 | 7.5 | 8 | 12.2558 | TRUE | 79528.9004 | 33628.1173 | 45900.7832 | 79605 | 28914 | 50691 | 63684 | 30359.7 | 33324.3 | 184643.2258 | 123773.8471 | 60869.3786 | 57220.9095 | 50704.2777 | 6516.6318
Tulsa | Tulsa-82 | 25 | 7.5 | 7 | 10.86 | FALSE | Retrofit | 25 | 7.5 | 7 | 12.0719 | TRUE | 72907.8167 | 28207.8078 | 44700.0089 | 73915 | 25651 | 48264 | 59132 | 26933.55 | 32198.45 | 152422.0983 | 101697.6162 | 50724.4822 | 47684.0912 | 42897.02 | 4787.0712
Anderson | Anderson-12 | 25 | 7.5 | 8 | 10.86 | FALSE | Retrofit | 25 | 7.5 | 8 | 12.2558 | TRUE | 72907.8167 | 27761.079 | 45146.7377 | 73915 | 26186 | 47729 | 59132 | 27495.3 | 31636.7 | 153336.8562 | 102812.5141 | 50524.3421 | 47684.0912 | 42253.5647 | 5430.5265
Anderson | Anderson-9 | 25 | 7.5 | 8 | 10.86 | FALSE | Retrofit | 25 | 7.5 | 8 | 12.2558 | TRUE | 72907.8167 | 27761.079 | 45146.7377 | 73915 | 26186 | 47729 | 59132 | 27495.3 | 31636.7 | 153336.8562 | 102812.5141 | 50524.3421 | 47684.0912 | 42253.5647 | 5430.5265
Anderson | Anderson-10 | 25 | 7.5 | 8 | 10.86 | FALSE | Retrofit | 25 | 7.5 | 8 | 12.2558 | TRUE | 72907.8167 | 27761.079 | 45146.7377 | 73915 | 26186 | 47729 | 59132 | 27495.3 | 31636.7 | 153336.8562 | 102812.5141 | 50524.3421 | 47684.0912 | 42253.5647 | 5430.5265
Anderson | Anderson-13 | 25 | 7.5 | 8 | 10.86 | FALSE | Retrofit | 25 | 7.5 | 8 | 12.2558 | TRUE | 72907.8167 | 27761.079 | 45146.7377 | 73915 | 26186 | 47729 | 59132 | 27495.3 | 31636.7 | 153336.8562 | 102812.5141 | 50524.3421 | 47684.0912 | 42253.5647 | 5430.5265
Anderson | Anderson-14 | 25 | 7.5 | 8 | 10.86 | FALSE | Retrofit | 25 | 7.5 | 8 | 12.2558 | TRUE | 72907.8167 | 27761.079 | 45146.7377 | 73915 | 26186 | 47729 | 59132 | 27495.3 | 31636.7 | 153336.8562 | 102812.5141 | 50524.3421 | 47684.0912 | 42253.5647 | 5430.5265
Anderson | Anderson-11 | 25 | 7.5 | 8 | 10.86 | FALSE | Retrofit | 25 | 7.5 | 8 | 12.2558 | TRUE | 72907.8167 | 27761.079 | 45146.7377 | 73915 | 26186 | 47729 | 59132 | 27495.3 | 31636.7 | 153336.8562 | 102812.5141 | 50524.3421 | 47684.0912 | 42253.5647 | 5430.5265
Tulsa | Tulsa-99 | 25 | 7.5 | 10 | 10.86 | FALSE | Retrofit | 25 | 7.5 | 10 | 12.6319 | TRUE | 72907.8167 | 26887.6237 | 46020.1931 | 73915 | 25153 | 48762 | 59132 | 26410.65 | 32721.35 | 156830.3217 | 106105.8395 | 50724.4822 | 47684.0912 | 40995.4648 | 6688.6264
Tulsa | Tulsa-91 | 20 | 7.5 | 3 | 10.86 | FALSE | Retrofit | 20 | 7.5 | 3 | 11.3637 | TRUE | 66286.733 | 23736.2149 | 42550.5182 | 68224 | 22387 | 45837 | 54579.2 | 23506.35 | 31072.85 | 112945.6904 | 72366.1046 | 40579.5857 | 38147.273 | 36456.2664 | 1691.0066
Lowry | Lowry-66 | 40 | 10 | 5 | 10.86 | FALSE | Retrofit | 40 | 10 | 5 | 11.7125 | TRUE | 106038.5339 | 47014.608 | 59023.9259 | 67486 | 27824 | 39662 | 53988.8 | 29215.2 | 24773.6 | 235976.7345 | 154817.563 | 81159.1715 | 76294.546 | 70741.5621 | 5552.9839
Lowry | Lowry-51 | 30 | 10 | 9 | 10.86 | FALSE | Retrofit | 30 | 10 | 9 | 12.4424 | TRUE | 92796.3665 | 32575.3797 | 60220.9868 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Lowry | Lowry-54 | 30 | 10 | 9 | 10.86 | FALSE | Retrofit | 30 | 10 | 9 | 12.4424 | TRUE | 92796.3665 | 32575.3797 | 60220.9868 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Lowry | Lowry-55 | 30 | 10 | 9 | 10.86 | FALSE | Retrofit | 30 | 10 | 9 | 12.4424 | TRUE | 92796.3665 | 32575.3797 | 60220.9868 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Lowry | Lowry-56 | 30 | 10 | 9 | 10.86 | FALSE | Retrofit | 30 | 10 | 9 | 12.4424 | TRUE | 92796.3665 | 32575.3797 | 60220.9868 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Lowry | Lowry-58 | 30 | 10 | 9 | 10.86 | FALSE | Retrofit | 30 | 10 | 9 | 12.4424 | TRUE | 92796.3665 | 32575.3797 | 60220.9868 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Lowry | Lowry-59 | 30 | 10 | 9 | 10.86 | FALSE | Retrofit | 30 | 10 | 9 | 12.4424 | TRUE | 92796.3665 | 32575.3797 | 60220.9868 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Lowry | Lowry-60 | 30 | 10 | 9 | 10.86 | FALSE | Retrofit | 30 | 10 | 9 | 12.4424 | TRUE | 92796.3665 | 32575.3797 | 60220.9868 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Lowry | Lowry-65 | 30 | 10 | 9 | 10.86 | FALSE | Retrofit | 30 | 10 | 9 | 12.4424 | TRUE | 92796.3665 | 32575.3797 | 60220.9868 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Lowry | Lowry-67 | 30 | 10 | 9 | 10.86 | FALSE | Retrofit | 30 | 10 | 9 | 12.4424 | TRUE | 92796.3665 | 32575.3797 | 60220.9868 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Lowry | Lowry-68 | 30 | 10 | 9 | 10.86 | FALSE | Retrofit | 30 | 10 | 9 | 12.4424 | TRUE | 92796.3665 | 32575.3797 | 60220.9868 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Lowry | Lowry-69 | 30 | 10 | 9 | 10.86 | FALSE | Retrofit | 30 | 10 | 9 | 12.4424 | TRUE | 92796.3665 | 32575.3797 | 60220.9868 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Lowry | Lowry-70 | 30 | 10 | 9 | 10.86 | FALSE | Retrofit | 30 | 10 | 9 | 12.4424 | TRUE | 92796.3665 | 32575.3797 | 60220.9868 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Lowry | Lowry-71 | 30 | 10 | 9 | 10.86 | FALSE | Retrofit | 30 | 10 | 9 | 12.4424 | TRUE | 92796.3665 | 32575.3797 | 60220.9868 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786 | 57220.9095 | 49943.7135 | 7277.196
Tulsa | Tulsa-92 | 20 | 5 | 9 | 10.86 | FALSE | Retrofit | 20 | 5 | 9 | 12.4424 | TRUE | 53019.267 | 22066.7226 | 30952.5444 | 53070 | 19276 | 33794 | 42456 | 20239.8 | 22216.2 | 124270.9206 | 83691.3348 | 40579.5857 | 38147.273 | 33295.809 | 4851.464
Tulsa | Tulsa-96 | 20 | 5 | 8 | 10.86 | FALSE | Retrofit | 20 | 5 | 8 | 12.2558 | TRUE | 53019.267 | 22418.7449 | 30600.5221 | 53070 | 19276 | 33794 | 42456 | 20239.8 | 22216.2 | 123095.4838 | 82515.8981 | 40579.5857 | 38147.273 | 33802.8518 | 4344.4212
Lowry | Lowry-52 | 25 | 15 | 3 | 9.4406 | FALSE | Replace | 25 | 15 | 0 | 10 | TRUE | 117687.4998 | 33135.6517 | 84551.8481 | 50619 | 24447 | 26172 | 40495.2 | 25669.35 | 14825.85 | 171529.4942 | 95985.269 | 75544.2252 | 54853.229 | 51784.9231 | 3068.306
Tulsa | Tulsa-97 | 15 | 5 | 15 | 8.24 | FALSE | Replace | 15 | 5 | 0 | 11 | TRUE | 52713.9257 | 18671.5018 | 34042.4239 | 38674 | 15982 | 22692 | 30939.2 | 16781.1 | 14158.1 | 106094.403 | 52107.0032 | 53987.3998 | 37707.4682 | 28246.3217 | 9461.1466
Anderson | Anderson-27 | 10 | 3.75 | 6 | 10.86 | FALSE | Retrofit | 10 | 3.75 | 6 | 11.8908 | TRUE | 33143.3665 | 11307.1246 | 21836.2419 | 34112 | 11950 | 22162 | 27289.6 | 12547.5 | 14742.1 | 59335.9056 | 39126.1687 | 20209.7369 | 19073.6365 | 17420.1097 | 1653.5268
Shawnee | Shawnee-153 | 10 | 3.7 | 8 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 8 | 12.2558 | TRUE | 32878.0172 | 10957.5144 | 21920.5028 | 34112 | 11599 | 22513 | 27289.6 | 12178.95 | 15110.65 | 61547.7419 | 41257.949 | 20289.7929 | 19073.6365 | 16901.4259 | 2172.2106
Tulsa | Tulsa-93 | 10 | 3.75 | 8 | 10.86 | FALSE | Retrofit | 10 | 3.75 | 8 | 12.2558 | TRUE | 33143.3665 | 10947.0204 | 22196.3462 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 61547.7419 | 41257.949 | 20289.7929 | 19073.6365 | 16901.4259 | 2172.2106
Shawnee | Shawnee-157 | 10 | 3.7 | 7 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 7 | 12.0719 | TRUE | 32878.0172 | 11136.206 | 21741.8112 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 60968.8393 | 40679.0465 | 20289.7929 | 19073.6365 | 17158.808 | 1914.8285
Shawnee | Shawnee-158 | 10 | 3.7 | 7 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 7 | 12.0719 | TRUE | 32878.0172 | 11136.206 | 21741.8112 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 60968.8393 | 40679.0465 | 20289.7929 | 19073.6365 | 17158.808 | 1914.8285
Shawnee | Shawnee-159 | 10 | 3.7 | 7 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 7 | 12.0719 | TRUE | 32878.0172 | 11136.206 | 21741.8112 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 60968.8393 | 40679.0465 | 20289.7929 | 19073.6365 | 17158.808 | 1914.8285
Shawnee | Shawnee-160 | 10 | 3.7 | 7 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 7 | 12.0719 | TRUE | 32878.0172 | 11136.206 | 21741.8112 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 60968.8393 | 40679.0465 | 20289.7929 | 19073.6365 | 17158.808 | 1914.8285
Shawnee | Shawnee-161 | 10 | 3.7 | 7 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 7 | 12.0719 | TRUE | 32878.0172 | 11136.206 | 21741.8112 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 60968.8393 | 40679.0465 | 20289.7929 | 19073.6365 | 17158.808 | 1914.8285
Shawnee | Shawnee-162 | 10 | 3.7 | 7 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 7 | 12.0719 | TRUE | 32878.0172 | 11136.206 | 21741.8112 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 60968.8393 | 40679.0465 | 20289.7929 | 19073.6365 | 17158.808 | 1914.8285
Shawnee | Shawnee-154 | 10 | 3.7 | 8 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 8 | 12.2558 | TRUE | 32878.0172 | 10957.5144 | 21920.5028 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 61547.7419 | 41257.949 | 20289.7929 | 19073.6365 | 16901.4259 | 2172.2106
Shawnee | Shawnee-155 | 10 | 3.7 | 8 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 8 | 12.2558 | TRUE | 32878.0172 | 10957.5144 | 21920.5028 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 61547.7419 | 41257.949 | 20289.7929 | 19073.6365 | 16901.4259 | 2172.2106
Shawnee | Shawnee-156 | 10 | 3.7 | 8 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 8 | 12.2558 | TRUE | 32878.0172 | 10957.5144 | 21920.5028 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 61547.7419 | 41257.949 | 20289.7929 | 19073.6365 | 16901.4259 | 2172.2106
Shawnee | Shawnee-149 | 10 | 3.7 | 8 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 8 | 12.2558 | TRUE | 32878.0172 | 10957.5144 | 21920.5028 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 61547.7419 | 41257.949 | 20289.7929 | 19073.6365 | 16901.4259 | 2172.2106
Shawnee | Shawnee-150 | 10 | 3.7 | 8 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 8 | 12.2558 | TRUE | 32878.0172 | 10957.5144 | 21920.5028 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 61547.7419 | 41257.949 | 20289.7929 | 19073.6365 | 16901.4259 | 2172.2106
Shawnee | Shawnee-151 | 10 | 3.7 | 6 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 6 | 11.8908 | TRUE | 32878.0172 | 11317.6187 | 21560.3985 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 59543.0153 | 39253.2224 | 20289.7929 | 19073.6365 | 17420.1097 | 1653.5268
Shawnee | Shawnee-152 | 10 | 3.7 | 6 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 6 | 11.8908 | TRUE | 32878.0172 | 11317.6187 | 21560.3985 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 59543.0153 | 39253.2224 | 20289.7929 | 19073.6365 | 17420.1097 | 1653.5268
Shawnee | Shawnee-163 | 10 | 3.7 | 6 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 6 | 11.8908 | TRUE | 32878.0172 | 11317.6187 | 21560.3985 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 59543.0153 | 39253.2224 | 20289.7929 | 19073.6365 | 17420.1097 | 1653.5268
Shawnee | Shawnee-164 | 10 | 3.7 | 6 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 6 | 11.8908 | TRUE | 32878.0172 | 11317.6187 | 21560.3985 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 59543.0153 | 39253.2224 | 20289.7929 | 19073.6365 | 17420.1097 | 1653.5268
Shawnee | Shawnee-165 | 10 | 3.7 | 6 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 6 | 11.8908 | TRUE | 32878.0172 | 11317.6187 | 21560.3985 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 59543.0153 | 39253.2224 | 20289.7929 | 19073.6365 | 17420.1097 | 1653.5268
Shawnee | Shawnee-166 | 10 | 3.7 | 6 | 10.86 | FALSE | Retrofit | 10 | 3.7 | 6 | 11.8908 | TRUE | 32878.0172 | 11317.6187 | 21560.3985 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 59543.0153 | 39253.2224 | 20289.7929 | 19073.6365 | 17420.1097 | 1653.5268
Anderson | Anderson-35 | 12.5 | 3 | 6 | 10.86 | FALSE | Retrofit | 12.5 | 3 | 6 | 11.8908 | TRUE | 32473.6685 | 14488.081 | 17985.5875 | 32411 | 12117 | 20294 | 25928.8 | 12722.85 | 13205.95 | 74169.882 | 48907.7109 | 25262.1711 | 23842.0456 | 21775.1371 | 2066.9085
Shawnee | Shawnee-144 | 10 | 1.5 | 12 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31845 | 8369 | 23476 | 25476 | 8787.45 | 16688.55 | 68611.7977 | 34738.0021 | 33873.7956 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-131 | 10 | 1.5 | 14 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 70012.9715 | 34738.0021 | 35274.9694 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-132 | 10 | 1.5 | 13 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-134 | 10 | 1.5 | 13 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-135 | 10 | 1.5 | 13 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-137 | 10 | 1.5 | 13 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-138 | 10 | 1.5 | 13 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-139 | 10 | 1.5 | 13 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-140 | 10 | 1.5 | 13 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-141 | 10 | 1.5 | 13 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-142 | 10 | 1.5 | 13 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-143 | 10 | 1.5 | 13 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-145 | 10 | 1.5 | 13 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-146 | 10 | 1.5 | 13 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-147 | 10 | 1.5 | 13 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884 | 25138.3122 | 18830.8811 | 6307.4311
Shawnee | Shawnee-148 | 10 | 1.5 | 13 | 8.24 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 25413.142 | 12791.9475 | 12621.1946 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884 | 25138.3122 | 18830.8811 | 6307.4311
Tulsa | Tulsa-78 | 10 | 1.5 | 3 | 9.4406 | FALSE | Replace | 10 | 1.5 | 0 | 11 | TRUE | 23193.561 | 12791.9475 | 10401.6136 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 68611.7977 | 34738.0021 | 33873.7956 | 21941.2916 | 18830.8811 | 3110.4105
Anderson | Anderson-4 | 10 | 2 | 12 | 8.24 | FALSE | Replace | 10 | 2 | 0 | 11.4 | TRUE | 28066.6353 | 12239.3291 | 15827.3061 | 28208 | 9116 | 19092 | 22566.4 | 9571.8 | 12994.6 | 68378.0446 | 33215.987 | 35162.0577 | 25138.3122 | 18170.1484 | 6968.1637
Anderson | Anderson-3 | 10 | 2 | 18 | 8.24 | FALSE | Replace | 10 | 2 | 0 | 11.4 | TRUE | 28066.6352 | 12239.3291 | 15827.3061 | 25783 | 9116 | 16667 | 20626.4 | 9571.8 | 11054.6 | 72699.1542 | 33215.987 | 39483.1673 | 25138.3122 | 18170.1484 | 6968.1637
Tulsa | Tulsa-98 | 7.5 | 1.5 | 3 | 9.4406 | FALSE | Replace | 7.5 | 1.5 | 0 | 11.9 | TRUE | 19385.2907 | 8781.9683 | 10603.3224 | 24793 | 7368 | 17425 | 19834.4 | 7736.4 | 12098 | 51458.8483 | 23979.6603 | 27479.188 | 16455.9687 | 13055.0226 | 3400.9461
Shawnee | Shawnee-136 | 7.5 | 2 | 3 | 9.4406 | FALSE | Replace | 7.5 | 2 | 0 | 11 | TRUE | 22038.7839 | 9429.6453 | 12609.1385 | 23734 | 7368 | 16366 | 18987.2 | 7736.4 | 11250.8 | 51458.8483 | 26053.5016 | 25405.3467 | 16455.9687 | 14123.1608 | 2332.8079
Tulsa | Tulsa-90 | 8.5 | 1.5 | 3 | 9.4406 | FALSE | Replace | 8.5 | 1.5 | 0 | 11 | TRUE | 20908.5988 | 10830.9029 | 10077.696 | 23734 | 7394 | 16340 | 18987.2 | 7763.7 | 11223.5 | 58320.028 | 29527.3018 | 28792.7262 | 18650.0979 | 16006.249 | 2643.8489
Shawnee | Shawnee-117 | 7.5 | 1.5 | 3 | 9.4406 | FALSE | Replace | 7.5 | 1.5 | 0 | 11.9 | TRUE | 19385.2907 | 8781.9683 | 10603.3224 | 22368 | 7368 | 15000 | 17894.4 | 7736.4 | 10158 | 51458.8483 | 23979.6603 | 27479.188 | 16455.9687 | 13055.0226 | 3400.9461
Tulsa | Tulsa-77 | 5 | 2 | 10 | 8.24 | FALSE | Replace | 5 | 2 | 0 | 11 | TRUE | 19340.304 | 6161.2377 | 13179.0664 | 22368 | 7368 | 15000 | 17894.4 | 7736.4 | 10158 | 31366.0643 | 17369.0011 | 13997.0633 | 12569.1561 | 9415.4406 | 3153.7155
Shawnee | Shawnee-114 | 5 | 1 | 12 | 10.86 | FALSE | Retrofit | 5 | 1 | 12 | 13.0195 | TRUE | 11928.0701 | 5312.9759 | 6615.0942 | 21378 | 6402 | 14976 | 17102.4 | 6722.1 | 10380.3 | 34305.8988 | 24161.0024 | 10144.8964 | 9536.8182 | 7954.965 | 1581.8533
Lowry | Lowry-64 | 12.5 | 3 | 6 | 10.86 | FALSE | Retrofit | 12.5 | 3 | 6 | 11.8908 | TRUE | 32473.6685 | 14488.081 | 17985.5875 | 20631 | 8586 | 12045 | 16504.8 | 9015.3 | 7489.5 | 74428.7691 | 49066.528 | 25362.2411 | 23842.0456 | 21775.1371 | 2066.9085
Lowry | Lowry-50 | 10 | 2 | 20 | 8.24 | FALSE | Replace | 10 | 2 | 0 | 11.4 | TRUE | 28066.6352 | 12239.3291 | 15827.3061 | 20248 | 6555 | 13693 | 16198.4 | 6882.75 | 9315.65 | 74479.8138 | 33455.1581 | 41024.6557 | 25138.3122 | 18170.1484 | 6968.1637
Tulsa | Tulsa-80 | 7.5 | 2 | 3 | 9.4406 | FALSE | Replace | 7.5 | 2 | 0 | 11 | TRUE | 22038.7839 | 9429.6453 | 12609.1385 | 19337 | 6944 | 12393 | 15469.6 | 7291.2 | 8178.4 | 51458.8483 | 26053.5016 | 25405.3467 | 16455.9687 | 14123.1608 | 2332.8079
Tulsa | Tulsa-83 | 7.5 | 2 | 3 | 9.4406 | FALSE | Replace | 7.5 | 2 | 0 | 11 | TRUE | 22038.7839 | 9429.6453 | 12609.1385 | 19337 | 6944 | 12393 | 15469.6 | 7291.2 | 8178.4 | 51458.8483 | 26053.5016 | 25405.3467 | 16455.9687 | 14123.1608 | 2332.8079
Shawnee | Shawnee-112 | 7.5 | 1.5 | 13 | 8.24 | FALSE | Replace | 7.5 | 1.5 | 0 | 11.9 | TRUE | 21049.9764 | 8781.9683 | 12268.0082 | 19337 | 6944 | 12393 | 15469.6 | 7291.2 | 8178.4 | 51980.3179 | 23979.6603 | 28000.6576 | 18853.7341 | 13055.0226 | 5798.7115
Shawnee | Shawnee-128 | 7.5 | 1.5 | 7 | 10.86 | FALSE | Retrofit | 7.5 | 1.5 | 7 | 12.0719 | TRUE | 17892.1052 | 8619.7536 | 9272.3516 | 17628 | 7066 | 10562 | 14102.4 | 7419.3 | 6683.1 | 45726.6295 | 30509.2848 | 15217.3447 | 14305.2274 | 12869.106 | 1436.1214
Tulsa | Tulsa-89 | 6 | 1 | 3 | 10.86 | FALSE | Retrofit | 6 | 1 | 3 | 11.3637 | TRUE | 13252.2869 | 7383.2165 | 5869.0703 | 12890 | 5404 | 7486 | 10312 | 5674.2 | 4637.8 | 33883.7071 | 21709.8314 | 12173.8757 | 11444.1819 | 10936.8799 | 507.302
Anderson | Anderson-26 | 5 | 2.4 | 3 | 9.4406 | FALSE | Replace | 5 | 2.4 | 0 | 12.1 | TRUE | 20353.3081 | 5491.8662 | 14861.4419 | 12285 | 6402 | 5883 | 9828 | 6722.1 | 3105.9 | 34189.0223 | 15590.5473 | 18598.475 | 10970.6458 | 8559.4914 | 2411.1544
Anderson | Anderson-32 | 5 | 2.4 | 3 | 9.4406 | FALSE | Replace | 5 | 2.4 | 0 | 12.1 | TRUE | 20353.3081 | 5491.8662 | 14861.4419 | 12285 | 6402 | 5883 | 9828 | 6722.1 | 3105.9 | 34189.0223 | 15590.5473 | 18598.475 | 10970.6458 | 8559.4914 | 2411.1544
Shawnee | Shawnee-133 | 5 | 2.4 | 3 | 9.4406 | FALSE | Replace | 5 | 2.4 | 0 | 12.1 | TRUE | 20353.3081 | 5491.8662 | 14861.4419 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34305.8988 | 15707.1349 | 18598.7639 | 10970.6458 | 8559.4914 | 2411.1544
Anderson | Anderson-42 | 5 | 0.75 | 37 | 8.24 | FALSE | Replace | 5 | 0.75 | 0 | 11.18 | TRUE | 12706.571 | 6290.7298 | 6415.8412 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 44843.1483 | 16954.076 | 27889.0724 | 12569.1561 | 9263.8503 | 3305.3058
Anderson | Anderson-39 | 5 | 0.75 | 12 | 8.24 | FALSE | Replace | 5 | 0.75 | 0 | 11.18 | TRUE | 12706.571 | 6290.7298 | 6415.8412 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34189.0223 | 16954.076 | 17234.9463 | 12569.1561 | 9263.8503 | 3305.3058
Shawnee | Shawnee-125 | 5 | 0.75 | 12 | 8.24 | FALSE | Replace | 5 | 0.75 | 0 | 11.18 | TRUE | 12706.571 | 6290.7298 | 6415.8412 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34305.8988 | 17074.6813 | 17231.2175 | 12569.1561 | 9263.8503 | 3305.3058
Anderson | Anderson-37 | 5 | 0.75 | 8 | 8.24 | FALSE | Replace | 5 | 0.75 | 0 | 11.18 | TRUE | 12706.571 | 6290.7298 | 6415.8412 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 30667.3712 | 16954.076 | 13713.2953 | 12569.1561 | 9263.8503 | 3305.3058
Anderson | Anderson-24 | 5 | 0.75 | 13 | 8.24 | FALSE | Replace | 5 | 0.75 | 0 | 11.18 | TRUE | 12706.571 | 6290.7298 | 6415.8412 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34535.6474 | 16954.076 | 17581.5714 | 12569.1561 | 9263.8503 | 3305.3058
Anderson | Anderson-38 | 5 | 0.75 | 13 | 8.24 | FALSE | Replace | 5 | 0.75 | 0 | 11.18 | TRUE | 12706.571 | 6290.7298 | 6415.8412 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34535.6474 | 16954.076 | 17581.5714 | 12569.1561 | 9263.8503 | 3305.3058
Shawnee | Shawnee-110 | 5 | 0.75 | 13 | 8.24 | FALSE | Replace | 5 | 0.75 | 0 | 11.18 | TRUE | 12706.571 | 6290.7298 | 6415.8412 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34653.5452 | 17074.6813 | 17578.8639 | 12569.1561 | 9263.8503 | 3305.3058
Anderson | Anderson-41 | 5 | 0.75 | 15 | 8.24 | FALSE | Replace | 5 | 0.75 | 0 | 11.18 | TRUE | 12706.571 | 6290.7298 | 6415.8412 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 35244.8135 | 16954.076 | 18290.7376 | 12569.1561 | 9263.8503 | 3305.3058
Anderson | Anderson-40 | 5 | 0.75 | 19 | 8.24 | FALSE | Replace | 5 | 0.75 | 0 | 11.18 | TRUE | 12706.571 | 6290.7298 | 6415.8412 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 36729.104 | 16954.076 | 19775.028 | 12569.1561 | 9263.8503 | 3305.3058
Shawnee | Shawnee-113 | 5 | 1 | 12 | 10.86 | FALSE | Retrofit | 5 | 1 | 12 | 13.0195 | TRUE | 11928.0701 | 5312.9759 | 6615.0942 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34305.8988 | 24161.0024 | 10144.8964 | 9536.8182 | 7954.965 | 1581.8533
Shawnee | Shawnee-121 | 5 | 0.75 | 3 | 9.4406 | FALSE | Replace | 5 | 0.75 | 0 | 11.18 | TRUE | 11596.7805 | 6290.7298 | 5306.0507 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34305.8988 | 17074.6813 | 17231.2175 | 10970.6458 | 9263.8503 | 1706.7955
Tulsa | Tulsa-84 | 4 | 0.75 | 3 | 9.4406 | FALSE | Replace | 4 | 0.75 | 0 | 11.18 | TRUE | 10073.4724 | 5004.4155 | 5069.0568 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 27444.7191 | 13659.745 | 13784.974 | 8776.5166 | 7411.0802 | 1365.4364
Lowry | Lowry-62 | 7.5 | 2 | 19 | 8.24 | FALSE | Replace | 7.5 | 2 | 0 | 11 | TRUE | 23703.4696 | 9429.6453 | 14273.8243 | 11971 | 5300 | 6671 | 9576.8 | 5565 | 4011.8 | 55280.1976 | 26053.5016 | 29226.696 | 18853.7341 | 14123.1608 | 4730.5733
Shawnee | Shawnee-119 | 5 | 0.75 | 12 | 8.24 | FALSE | Replace | 5 | 0.75 | 0 | 11.18 | TRUE | 12706.571 | 6290.7298 | 6415.8412 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 34305.8988 | 17074.6813 | 17231.2175 | 12569.1561 | 9263.8503 | 3305.3058
Shawnee | Shawnee-120 | 5 | 0.75 | 12 | 8.24 | FALSE | Replace | 5 | 0.75 | 0 | 11.18 | TRUE | 12706.571 | 6290.7298 | 6415.8412 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 34305.8988 | 17074.6813 | 17231.2175 | 12569.1561 | 9263.8503 | 3305.3058
Shawnee | Shawnee-105 | 5 | 1 | 9 | 10.86 | FALSE | Retrofit | 5 | 1 | 9 | 12.4424 | TRUE | 11928.0701 | 5569.1511 | 6358.9191 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 31067.7301 | 20922.8337 | 10144.8964 | 9536.8182 | 8323.9523 | 1212.866
Shawnee | Shawnee-126 | 5 | 1 | 9 | 10.86 | FALSE | Retrofit | 5 | 1 | 9 | 12.4424 | TRUE | 11928.0701 | 5569.1511 | 6358.9191 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 31067.7301 | 20922.8337 | 10144.8964 | 9536.8182 | 8323.9523 | 1212.866
Shawnee | Shawnee-103 | 5 | 1 | 7 | 10.86 | FALSE | Retrofit | 5 | 1 | 7 | 12.0719 | TRUE | 11928.0701 | 5746.5024 | 6181.5677 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 30484.4197 | 20339.5232 | 10144.8964 | 9536.8182 | 8579.404 | 957.4142
Anderson | Anderson-45 | 5 | 1 | 8 | 10.86 | FALSE | Retrofit | 5 | 1 | 8 | 12.2558 | TRUE | 11928.0701 | 5657.1566 | 6270.9135 | 11752 | 4707 | 7045 | 9401.6 | 4942.35 | 4459.25 | 30667.3712 | 20562.5028 | 10104.8684 | 9536.8182 | 8450.7129 | 1086.1053
Shawnee | Shawnee-122 | 5 | 1 | 8 | 10.86 | FALSE | Retrofit | 5 | 1 | 8 | 12.2558 | TRUE | 11928.0701 | 5657.1566 | 6270.9135 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 30773.871 | 20628.9745 | 10144.8964 | 9536.8182 | 8450.7129 | 1086.1053
Shawnee | Shawnee-123 | 5 | 1 | 8 | 10.86 | FALSE | Retrofit | 5 | 1 | 8 | 12.2558 | TRUE | 11928.0701 | 5657.1566 | 6270.9135 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 30773.871 | 20628.9745 | 10144.8964 | 9536.8182 | 8450.7129 | 1086.1053
Shawnee | Shawnee-102 | 5 | 1 | 8 | 10.86 | FALSE | Retrofit | 5 | 1 | 8 | 12.2558 | TRUE | 11928.0701 | 5657.1566 | 6270.9135 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 30773.871 | 20628.9745 | 10144.8964 | 9536.8182 | 8450.7129 | 1086.1053
Shawnee | Shawnee-108 | 5 | 1 | 6 | 10.86 | FALSE | Retrofit | 5 | 1 | 6 | 11.8908 | TRUE | 11928.0701 | 5837.2087 | 6090.8614 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 29771.5077 | 19626.6112 | 10144.8964 | 9536.8182 | 8710.0548 | 826.7634
Anderson | Anderson-36 | 5 | 1 | 10 | 10.86 | FALSE | Retrofit | 5 | 1 | 10 | 12.6319 | TRUE | 11928.0701 | 5482.4656 | 6445.6046 | 11752 | 4707 | 7045 | 9401.6 | 4942.35 | 4459.25 | 31257.8248 | 21152.9564 | 10104.8684 | 9536.8182 | 8199.093 | 1337.7253
Tulsa | Tulsa-101 | 5 | 1 | 14 | 10.86 | FALSE | Retrofit | 5 | 1 | 14 | 13.4191 | TRUE | 11928.0701 | 5148.5328 | 6779.5373 | 11752 | 4707 | 7045 | 9401.6 | 4942.35 | 4459.25 | 35006.4858 | 24861.5893 | 10144.8964 | 9536.8182 | 7718.1059 | 1818.7124
Anderson | Anderson-25 | 4 | 2.4 | 11 | 8.24 | FALSE | Replace | 4 | 2.4 | 0 | 12 | TRUE | 19717.8324 | 4342.9714 | 15374.861 | 11526 | 5710 | 5816 | 9220.8 | 5995.5 | 3225.3 | 25247.8499 | 12582.9035 | 12664.9464 | 10055.3249 | 6904.6564 | 3150.6685
Lowry | Lowry-57 | 7.5 | 1.5 | 9 | 10.86 | FALSE | Retrofit | 7.5 | 1.5 | 9 | 12.4424 | TRUE | 17892.1052 | 8353.7266 | 9538.3786 | 11277 | 4889 | 6388 | 9021.6 | 5133.45 | 3888.15 | 46601.5952 | 31384.2506 | 15217.3447 | 14305.2274 | 12485.9284 | 1819.299
Lowry | Lowry-48 | 6 | 1.5 | 20 | 8.24 | FALSE | Replace | 6 | 1.5 | 0 | 11.9 | TRUE | 18432.0771 | 6969.238 | 11462.8391 | 11047 | 4979 | 6068 | 8837.6 | 5227.95 | 3609.65 | 44687.8883 | 19183.7282 | 25504.1601 | 15082.9873 | 10444.0181 | 4638.9692
Lowry | Lowry-49 | 6 | 1.5 | 20 | 8.24 | FALSE | Replace | 6 | 1.5 | 0 | 11.9 | TRUE | 18432.0771 | 6969.238 | 11462.8391 | 11047 | 4979 | 6068 | 8837.6 | 5227.95 | 3609.65 | 44687.8883 | 19183.7282 | 25504.1601 | 15082.9873 | 10444.0181 | 4638.9692
Anderson | Anderson-20 | 4 | 1 | 4 | 10.86 | FALSE | Retrofit | 4 | 1 | 4 | 11.5368 | TRUE | 10603.8534 | 4776.2528 | 5827.6006 | 10614 | 4107 | 6507 | 8491.2 | 4312.35 | 4178.85 | 22713.4766 | 14629.5818 | 8083.8947 | 7629.4546 | 7181.8845 | 447.5701
Anderson | Anderson-46 | 4 | 0.75 | 12 | 8.24 | FALSE | Replace | 4 | 0.75 | 0 | 11.18 | TRUE | 10961.3048 | 5004.4155 | 5956.8892 | 10010 | 3557 | 6453 | 8008 | 3734.85 | 4273.15 | 27351.2179 | 13563.2608 | 13787.9571 | 10055.3249 | 7411.0802 | 2644.2446
Anderson | Anderson-47 | 4 | 0.75 | 12 | 8.24 | FALSE | Replace | 4 | 0.75 | 0 | 11.18 | TRUE | 10961.3048 | 5004.4155 | 5956.8892 | 10010 | 3557 | 6453 | 8008 | 3734.85 | 4273.15 | 27351.2179 | 13563.2608 | 13787.9571 | 10055.3249 | 7411.0802 | 2644.2446
Anderson | Anderson-28 | 4 | 0.75 | 18 | 8.24 | FALSE | Replace | 4 | 0.75 | 0 | 11.76 | TRUE | 10961.3048 | 4750.6529 | 6210.6519 | 10010 | 3626 | 6384 | 8008 | 3807.3 | 4200.7 | 29079.6617 | 12855.6858 | 16223.9759 | 10055.3249 | 7045.5678 | 3009.7571
Anderson | Anderson-31 | 3 | 1 | 9 | 10.86 | FALSE | Retrofit | 3 | 1 | 9 | 12.4424 | TRUE | 9279.6367 | 3257.538 | 6022.0987 | 9476 | 3322 | 6154 | 7580.8 | 3488.1 | 4092.7 | 18576.2203 | 12513.2992 | 6062.9211 | 5722.0909 | 4994.3714 | 727.7196
Anderson | Anderson-33 | 3 | 1 | 6 | 10.86 | FALSE | Retrofit | 3 | 1 | 6 | 11.8908 | TRUE | 9279.6367 | 3418.3726 | 5861.2641 | 9476 | 3422 | 6054 | 7580.8 | 3593.1 | 3987.7 | 17800.7717 | 11737.8506 | 6062.9211 | 5722.0909 | 5226.0329 | 496.0581
Shawnee | Shawnee-104 | 4 | 0.75 | 7 | 10.86 | FALSE | Retrofit | 4 | 0.75 | 7 | 12.0719 | TRUE | 9277.1068 | 4607.696 | 4669.4108 | 9099 | 3796 | 5303 | 7279.2 | 3985.8 | 3293.4 | 24387.5357 | 16271.6186 | 8115.9171 | 7629.4546 | 6863.5232 | 765.9314
Shawnee | Shawnee-127 | 4 | 0.75 | 7 | 10.86 | FALSE | Retrofit | 4 | 0.75 | 7 | 12.0719 | TRUE | 9277.1068 | 4607.696 | 4669.4108 | 9099 | 3796 | 5303 | 7279.2 | 3985.8 | 3293.4 | 24387.5357 | 16271.6186 | 8115.9171 | 7629.4546 | 6863.5232 | 765.9314
Shawnee | Shawnee-111 | 4 | 0.75 | 6 | 10.86 | FALSE | Retrofit | 4 | 0.75 | 6 | 11.8908 | TRUE | 9277.1068 | 4680.2611 | 4596.8457 | 9099 | 3796 | 5303 | 7279.2 | 3985.8 | 3293.4 | 23817.2061 | 15701.289 | 8115.9171 | 7629.4546 | 6968.0439 | 661.4107
Shawnee | Shawnee-124 | 3 | 0.75 | 9 | 10.86 | FALSE | Retrofit | 3 | 0.75 | 9 | 12.4424 | TRUE | 7952.89 | 3310.0084 | 4642.8817 | 7960 | 3080 | 4880 | 6368 | 3234 | 3134 | 18640.6381 | 12553.7002 | 6086.9379 | 5722.0909 | 4994.3714 | 727.7196
Shawnee | Shawnee-118 | 3 | 0.75 | 4 | 10.86 | FALSE | Retrofit | 3 | 0.75 | 4 | 11.5368 | TRUE | 7952.89 | 3582.1896 | 4370.7004 | 7960 | 3080 | 4880 | 6368 | 3234 | 3134 | 17094.9843 | 11008.0464 | 6086.9379 | 5722.0909 | 5386.4134 | 335.6776
Anderson | Anderson-44 | 4 | 0.75 | 17 | 8.24 | FALSE | Replace | 4 | 0.75 | 0 | 11.76 | TRUE | 10961.3048 | 4750.6529 | 6210.6519 | 7129 | 3626 | 3503 | 5703.2 | 3807.3 | 1895.9 | 28780.5945 | 12855.6858 | 15924.9087 | 10055.3249 | 7045.5678 | 3009.7571
Anderson | Anderson-22 | 3 | 0.5 | 16 | 8.24 | FALSE | Replace | 3 | 0.5 | 0 | 11.76 | TRUE | 7889.2919 | 3574.7264 | 4314.5655 | 7129 | 2641 | 4488 | 5703.2 | 2773.05 | 2930.15 | 21364.51 | 9641.7644 | 11722.7456 | 7541.4937 | 5284.1758 | 2257.3178
Anderson | Anderson-21 | 3 | 0.5 | 14 | 8.24 | FALSE | Replace | 3 | 0.5 | 0 | 11.76 | TRUE | 7889.2919 | 3574.7264 | 4314.5655 | 7129 | 2641 | 4488 | 5703.2 | 2773.05 | 2930.15 | 20932.5306 | 9641.7644 | 11290.7662 | 7541.4937 | 5284.1758 | 2257.3178
Shawnee | Shawnee-115 | 3 | 0.5 | 10 | 10.86 | FALSE | Retrofit | 3 | 0.5 | 10 | 12.6319 | TRUE | 6626.1434 | 3310.4675 | 3315.6759 | 6445 | 2769 | 3676 | 5156 | 2907.45 | 2248.55 | 18819.6386 | 12732.7007 | 6086.9379 | 5722.0909 | 4919.4558 | 802.6352
Tulsa | Tulsa-95 | 3 | 0.5 | 3 | 9.4406 | FALSE | Replace | 3 | 0.5 | 0 | 11.76 | TRUE | 7223.4176 | 3574.7264 | 3648.6912 | 5415 | 2641 | 2774 | 4332 | 2773.05 | 1558.95 | 20583.5393 | 9712.5639 | 10870.9754 | 6582.3875 | 5284.1758 | 1298.2117
Shawnee | Shawnee-109 | 3 | 0.5 | 13 | 8.24 | FALSE | Replace | 3 | 0.5 | 0 | 11.76 | TRUE | 7889.2919 | 3574.7264 | 4314.5655 | 4732 | 2641 | 2091 | 3785.6 | 2773.05 | 1012.55 | 20792.1271 | 9712.5639 | 11079.5633 | 7541.4937 | 5284.1758 | 2257.3178
Anderson | Anderson-30 | 2.5 | 0.33 | 14 | 8.24 | FALSE | Replace | 2.5 | 0.33 | 0 | 11.76 | TRUE | 6114.4711 | 2995.2137 | 3119.2574 | 4732 | 1757 | 2975 | 3785.6 | 1844.85 | 1940.75 | 17443.7755 | 8034.8036 | 9408.9719 | 6284.578 | 4403.4799 | 1881.0982
Tulsa | Tulsa-87 | 2 | 0.33 | 14 | 8.24 | FALSE | Replace | 2 | 0.33 | 0 | 11.76 | TRUE | 5241.838 | 2383.7769 | 2858.0611 | 4732 | 1757 | 2975 | 3785.6 | 1844.85 | 1940.75 | 14002.5943 | 6475.0426 | 7527.5517 | 5027.6624 | 3522.7839 | 1504.8786
Anderson | Anderson-23 | 2 | 0.33 | 15 | 8.24 | FALSE | Replace | 2 | 0.33 | 0 | 11.76 | TRUE | 5241.838 | 2383.7769 | 2858.0611 | 4732 | 1757 | 2975 | 3785.6 | 1844.85 | 1940.75 | 14097.9254 | 6427.8429 | 7670.0825 | 5027.6624 | 3522.7839 | 1504.8786
Anderson | Anderson-43 | 2 | 0.33 | 16 | 8.24 | FALSE | Replace | 2 | 0.33 | 0 | 11.76 | TRUE | 5241.838 | 2383.7769 | 2858.0611 | 3564 | 1420 | 2144 | 2851.2 | 1491 | 1360.2 | 14243.0066 | 6427.8429 | 7815.1637 | 5027.6624 | 3522.7839 | 1504.8786

## Reference Data
AUID | LOC | KEY | ENFT-PRE KWH | ENFT-POST KWH | ENFT-SAV-KWH | ENFT-CNSRV-PRE KWH | ENFT-CNSRV-POST KWH | ENFT-CNSRV-SAV-KWH | SCH-PRE-KWH | SCH-POST-KWH | SCH-SAV-KWH
1 | Anderson | Anderson-1 | 189532 | 56415 | 133117 | 151625.6 | 59235.75 | 92389.85 | 367291.0401 | 182990.7839 | 184300.2562
15 | Anderson | Anderson-15 | 189532 | 56415 | 133117 | 151625.6 | 59235.75 | 92389.85 | 367291.0401 | 182990.7839 | 184300.2562
2 | Anderson | Anderson-2 | 189532 | 56415 | 133117 | 151625.6 | 59235.75 | 92389.85 | 367291.0401 | 182990.7839 | 184300.2562
5 | Anderson | Anderson-5 | 189532 | 56415 | 133117 | 151625.6 | 59235.75 | 92389.85 | 367291.0401 | 182990.7839 | 184300.2562
6 | Anderson | Anderson-6 | 189532 | 56415 | 133117 | 151625.6 | 59235.75 | 92389.85 | 363495.7711 | 182990.7839 | 180504.9872
7 | Anderson | Anderson-7 | 189532 | 56415 | 133117 | 151625.6 | 59235.75 | 92389.85 | 363495.7711 | 182990.7839 | 180504.9872
8 | Anderson | Anderson-8 | 189532 | 56415 | 133117 | 151625.6 | 59235.75 | 92389.85 | 356075.1662 | 182990.7839 | 173084.3823
18 | Anderson | Anderson-18 | 178138 | 56529 | 121609 | 142510.4 | 59355.45 | 83154.95 | 306673.7124 | 205625.0281 | 101048.6843
19 | Anderson | Anderson-19 | 178138 | 56529 | 121609 | 142510.4 | 59355.45 | 83154.95 | 306673.7124 | 205625.0281 | 101048.6843
66 | Lowry | Lowry-66 | 67486 | 27824 | 39662 | 53988.8 | 29215.2 | 24773.6 | 235976.7345 | 154817.563 | 81159.1715
86 | Tulsa | Tulsa-86 | 86442 | 37590 | 48852 | 69153.6 | 39469.5 | 29684.1 | 214371.437 | 110541.8812 | 103829.5558
73 | Tulsa | Tulsa-73 | 94759 | 32025 | 62734 | 75807.2 | 33626.25 | 42180.95 | 188196.3861 | 127327.0074 | 60869.3786
51 | Lowry | Lowry-51 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786
54 | Lowry | Lowry-54 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786
55 | Lowry | Lowry-55 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786
56 | Lowry | Lowry-56 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786
58 | Lowry | Lowry-58 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786
59 | Lowry | Lowry-59 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786
60 | Lowry | Lowry-60 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786
65 | Lowry | Lowry-65 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786
67 | Lowry | Lowry-67 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786
68 | Lowry | Lowry-68 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786
69 | Lowry | Lowry-69 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786
70 | Lowry | Lowry-70 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786
71 | Lowry | Lowry-71 | 59792 | 23054 | 36738 | 47833.6 | 24206.7 | 23626.9 | 186406.3809 | 125537.0023 | 60869.3786
76 | Tulsa | Tulsa-76 | 79605 | 28914 | 50691 | 63684 | 30359.7 | 33324.3 | 186406.3809 | 125537.0023 | 60869.3786
79 | Tulsa | Tulsa-79 | 79605 | 28914 | 50691 | 63684 | 30359.7 | 33324.3 | 186406.3809 | 125537.0023 | 60869.3786
74 | Tulsa | Tulsa-74 | 79605 | 28914 | 50691 | 63684 | 30359.7 | 33324.3 | 184643.2258 | 123773.8471 | 60869.3786
85 | Tulsa | Tulsa-85 | 79605 | 28914 | 50691 | 63684 | 30359.7 | 33324.3 | 184643.2258 | 123773.8471 | 60869.3786
52 | Lowry | Lowry-52 | 50619 | 24447 | 26172 | 40495.2 | 25669.35 | 14825.85 | 171529.4942 | 95985.269 | 75544.2252
16 | Anderson | Anderson-16 | 79612 | 34070 | 45542 | 63689.6 | 35773.5 | 27916.1 | 170945.1116 | 95351.0656 | 75594.046
17 | Anderson | Anderson-17 | 79612 | 34070 | 45542 | 63689.6 | 35773.5 | 27916.1 | 170945.1116 | 95351.0656 | 75594.046
75 | Tulsa | Tulsa-75 | 125068 | 38248 | 86820 | 100054.4 | 40160.4 | 59894 | 169418.5355 | 108549.1569 | 60869.3786
99 | Tulsa | Tulsa-99 | 73915 | 25153 | 48762 | 59132 | 26410.65 | 32721.35 | 156830.3217 | 106105.8395 | 50724.4822
12 | Anderson | Anderson-12 | 73915 | 26186 | 47729 | 59132 | 27495.3 | 31636.7 | 153336.8562 | 102812.5141 | 50524.3421
9 | Anderson | Anderson-9 | 73915 | 26186 | 47729 | 59132 | 27495.3 | 31636.7 | 153336.8562 | 102812.5141 | 50524.3421
10 | Anderson | Anderson-10 | 73915 | 26186 | 47729 | 59132 | 27495.3 | 31636.7 | 153336.8562 | 102812.5141 | 50524.3421
13 | Anderson | Anderson-13 | 73915 | 26186 | 47729 | 59132 | 27495.3 | 31636.7 | 153336.8562 | 102812.5141 | 50524.3421
14 | Anderson | Anderson-14 | 73915 | 26186 | 47729 | 59132 | 27495.3 | 31636.7 | 153336.8562 | 102812.5141 | 50524.3421
11 | Anderson | Anderson-11 | 73915 | 26186 | 47729 | 59132 | 27495.3 | 31636.7 | 153336.8562 | 102812.5141 | 50524.3421
82 | Tulsa | Tulsa-82 | 73915 | 25651 | 48264 | 59132 | 26933.55 | 32198.45 | 152422.0983 | 101697.6162 | 50724.4822
92 | Tulsa | Tulsa-92 | 53070 | 19276 | 33794 | 42456 | 20239.8 | 22216.2 | 124270.9206 | 83691.3348 | 40579.5857
96 | Tulsa | Tulsa-96 | 53070 | 19276 | 33794 | 42456 | 20239.8 | 22216.2 | 123095.4838 | 82515.8981 | 40579.5857
91 | Tulsa | Tulsa-91 | 68224 | 22387 | 45837 | 54579.2 | 23506.35 | 31072.85 | 112945.6904 | 72366.1046 | 40579.5857
97 | Tulsa | Tulsa-97 | 38674 | 15982 | 22692 | 30939.2 | 16781.1 | 14158.1 | 106094.403 | 52107.0032 | 53987.3998
50 | Lowry | Lowry-50 | 20248 | 6555 | 13693 | 16198.4 | 6882.75 | 9315.65 | 74479.8138 | 33455.1581 | 41024.6557
64 | Lowry | Lowry-64 | 20631 | 8586 | 12045 | 16504.8 | 9015.3 | 7489.5 | 74428.7691 | 49066.528 | 25362.2411
35 | Anderson | Anderson-35 | 32411 | 12117 | 20294 | 25928.8 | 12722.85 | 13205.95 | 74169.882 | 48907.7109 | 25262.1711
3 | Anderson | Anderson-3 | 25783 | 9116 | 16667 | 20626.4 | 9571.8 | 11054.6 | 72699.1542 | 33215.987 | 39483.1673
131 | Shawnee | Shawnee-131 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 70012.9715 | 34738.0021 | 35274.9694
132 | Shawnee | Shawnee-132 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884
134 | Shawnee | Shawnee-134 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884
135 | Shawnee | Shawnee-135 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884
137 | Shawnee | Shawnee-137 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884
138 | Shawnee | Shawnee-138 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884
139 | Shawnee | Shawnee-139 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884
140 | Shawnee | Shawnee-140 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884
141 | Shawnee | Shawnee-141 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884
142 | Shawnee | Shawnee-142 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884
143 | Shawnee | Shawnee-143 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884
145 | Shawnee | Shawnee-145 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884
146 | Shawnee | Shawnee-146 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884
147 | Shawnee | Shawnee-147 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884
148 | Shawnee | Shawnee-148 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 69307.0905 | 34738.0021 | 34569.0884
144 | Shawnee | Shawnee-144 | 31845 | 8369 | 23476 | 25476 | 8787.45 | 16688.55 | 68611.7977 | 34738.0021 | 33873.7956
78 | Tulsa | Tulsa-78 | 31239 | 8369 | 22870 | 24991.2 | 8787.45 | 16203.75 | 68611.7977 | 34738.0021 | 33873.7956
4 | Anderson | Anderson-4 | 28208 | 9116 | 19092 | 22566.4 | 9571.8 | 12994.6 | 68378.0446 | 33215.987 | 35162.0577
153 | Shawnee | Shawnee-153 | 34112 | 11599 | 22513 | 27289.6 | 12178.95 | 15110.65 | 61547.7419 | 41257.949 | 20289.7929
154 | Shawnee | Shawnee-154 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 61547.7419 | 41257.949 | 20289.7929
155 | Shawnee | Shawnee-155 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 61547.7419 | 41257.949 | 20289.7929
156 | Shawnee | Shawnee-156 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 61547.7419 | 41257.949 | 20289.7929
149 | Shawnee | Shawnee-149 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 61547.7419 | 41257.949 | 20289.7929
150 | Shawnee | Shawnee-150 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 61547.7419 | 41257.949 | 20289.7929
93 | Tulsa | Tulsa-93 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 61547.7419 | 41257.949 | 20289.7929
157 | Shawnee | Shawnee-157 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 60968.8393 | 40679.0465 | 20289.7929
158 | Shawnee | Shawnee-158 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 60968.8393 | 40679.0465 | 20289.7929
159 | Shawnee | Shawnee-159 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 60968.8393 | 40679.0465 | 20289.7929
160 | Shawnee | Shawnee-160 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 60968.8393 | 40679.0465 | 20289.7929
161 | Shawnee | Shawnee-161 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 60968.8393 | 40679.0465 | 20289.7929
162 | Shawnee | Shawnee-162 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 60968.8393 | 40679.0465 | 20289.7929
151 | Shawnee | Shawnee-151 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 59543.0153 | 39253.2224 | 20289.7929
152 | Shawnee | Shawnee-152 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 59543.0153 | 39253.2224 | 20289.7929
163 | Shawnee | Shawnee-163 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 59543.0153 | 39253.2224 | 20289.7929
164 | Shawnee | Shawnee-164 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 59543.0153 | 39253.2224 | 20289.7929
165 | Shawnee | Shawnee-165 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 59543.0153 | 39253.2224 | 20289.7929
166 | Shawnee | Shawnee-166 | 33809 | 11506 | 22303 | 27047.2 | 12081.3 | 14965.9 | 59543.0153 | 39253.2224 | 20289.7929
27 | Anderson | Anderson-27 | 34112 | 11950 | 22162 | 27289.6 | 12547.5 | 14742.1 | 59335.9056 | 39126.1687 | 20209.7369
90 | Tulsa | Tulsa-90 | 23734 | 7394 | 16340 | 18987.2 | 7763.7 | 11223.5 | 58320.028 | 29527.3018 | 28792.7262
62 | Lowry | Lowry-62 | 11971 | 5300 | 6671 | 9576.8 | 5565 | 4011.8 | 55280.1976 | 26053.5016 | 29226.696
112 | Shawnee | Shawnee-112 | 19337 | 6944 | 12393 | 15469.6 | 7291.2 | 8178.4 | 51980.3179 | 23979.6603 | 28000.6576
117 | Shawnee | Shawnee-117 | 22368 | 7368 | 15000 | 17894.4 | 7736.4 | 10158 | 51458.8483 | 23979.6603 | 27479.188
136 | Shawnee | Shawnee-136 | 23734 | 7368 | 16366 | 18987.2 | 7736.4 | 11250.8 | 51458.8483 | 26053.5016 | 25405.3467
80 | Tulsa | Tulsa-80 | 19337 | 6944 | 12393 | 15469.6 | 7291.2 | 8178.4 | 51458.8483 | 26053.5016 | 25405.3467
83 | Tulsa | Tulsa-83 | 19337 | 6944 | 12393 | 15469.6 | 7291.2 | 8178.4 | 51458.8483 | 26053.5016 | 25405.3467
98 | Tulsa | Tulsa-98 | 24793 | 7368 | 17425 | 19834.4 | 7736.4 | 12098 | 51458.8483 | 23979.6603 | 27479.188
57 | Lowry | Lowry-57 | 11277 | 4889 | 6388 | 9021.6 | 5133.45 | 3888.15 | 46601.5952 | 31384.2506 | 15217.3447
128 | Shawnee | Shawnee-128 | 17628 | 7066 | 10562 | 14102.4 | 7419.3 | 6683.1 | 45726.6295 | 30509.2848 | 15217.3447
42 | Anderson | Anderson-42 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 44843.1483 | 16954.076 | 27889.0724
48 | Lowry | Lowry-48 | 11047 | 4979 | 6068 | 8837.6 | 5227.95 | 3609.65 | 44687.8883 | 19183.7282 | 25504.1601
49 | Lowry | Lowry-49 | 11047 | 4979 | 6068 | 8837.6 | 5227.95 | 3609.65 | 44687.8883 | 19183.7282 | 25504.1601
40 | Anderson | Anderson-40 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 36729.104 | 16954.076 | 19775.028
41 | Anderson | Anderson-41 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 35244.8135 | 16954.076 | 18290.7376
101 | Tulsa | Tulsa-101 | 11752 | 4707 | 7045 | 9401.6 | 4942.35 | 4459.25 | 35006.4858 | 24861.5893 | 10144.8964
110 | Shawnee | Shawnee-110 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34653.5452 | 17074.6813 | 17578.8639
24 | Anderson | Anderson-24 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34535.6474 | 16954.076 | 17581.5714
38 | Anderson | Anderson-38 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34535.6474 | 16954.076 | 17581.5714
119 | Shawnee | Shawnee-119 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 34305.8988 | 17074.6813 | 17231.2175
120 | Shawnee | Shawnee-120 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 34305.8988 | 17074.6813 | 17231.2175
121 | Shawnee | Shawnee-121 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34305.8988 | 17074.6813 | 17231.2175
125 | Shawnee | Shawnee-125 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34305.8988 | 17074.6813 | 17231.2175
133 | Shawnee | Shawnee-133 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34305.8988 | 15707.1349 | 18598.7639
113 | Shawnee | Shawnee-113 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34305.8988 | 24161.0024 | 10144.8964
114 | Shawnee | Shawnee-114 | 21378 | 6402 | 14976 | 17102.4 | 6722.1 | 10380.3 | 34305.8988 | 24161.0024 | 10144.8964
26 | Anderson | Anderson-26 | 12285 | 6402 | 5883 | 9828 | 6722.1 | 3105.9 | 34189.0223 | 15590.5473 | 18598.475
32 | Anderson | Anderson-32 | 12285 | 6402 | 5883 | 9828 | 6722.1 | 3105.9 | 34189.0223 | 15590.5473 | 18598.475
39 | Anderson | Anderson-39 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 34189.0223 | 16954.076 | 17234.9463
89 | Tulsa | Tulsa-89 | 12890 | 5404 | 7486 | 10312 | 5674.2 | 4637.8 | 33883.7071 | 21709.8314 | 12173.8757
77 | Tulsa | Tulsa-77 | 22368 | 7368 | 15000 | 17894.4 | 7736.4 | 10158 | 31366.0643 | 17369.0011 | 13997.0633
36 | Anderson | Anderson-36 | 11752 | 4707 | 7045 | 9401.6 | 4942.35 | 4459.25 | 31257.8248 | 21152.9564 | 10104.8684
105 | Shawnee | Shawnee-105 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 31067.7301 | 20922.8337 | 10144.8964
126 | Shawnee | Shawnee-126 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 31067.7301 | 20922.8337 | 10144.8964
122 | Shawnee | Shawnee-122 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 30773.871 | 20628.9745 | 10144.8964
123 | Shawnee | Shawnee-123 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 30773.871 | 20628.9745 | 10144.8964
102 | Shawnee | Shawnee-102 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 30773.871 | 20628.9745 | 10144.8964
37 | Anderson | Anderson-37 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 30667.3712 | 16954.076 | 13713.2953
45 | Anderson | Anderson-45 | 11752 | 4707 | 7045 | 9401.6 | 4942.35 | 4459.25 | 30667.3712 | 20562.5028 | 10104.8684
103 | Shawnee | Shawnee-103 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 30484.4197 | 20339.5232 | 10144.8964
108 | Shawnee | Shawnee-108 | 11752 | 4823 | 6929 | 9401.6 | 5064.15 | 4337.45 | 29771.5077 | 19626.6112 | 10144.8964
28 | Anderson | Anderson-28 | 10010 | 3626 | 6384 | 8008 | 3807.3 | 4200.7 | 29079.6617 | 12855.6858 | 16223.9759
44 | Anderson | Anderson-44 | 7129 | 3626 | 3503 | 5703.2 | 3807.3 | 1895.9 | 28780.5945 | 12855.6858 | 15924.9087
84 | Tulsa | Tulsa-84 | 12285 | 4213 | 8072 | 9828 | 4423.65 | 5404.35 | 27444.7191 | 13659.745 | 13784.974
46 | Anderson | Anderson-46 | 10010 | 3557 | 6453 | 8008 | 3734.85 | 4273.15 | 27351.2179 | 13563.2608 | 13787.9571
47 | Anderson | Anderson-47 | 10010 | 3557 | 6453 | 8008 | 3734.85 | 4273.15 | 27351.2179 | 13563.2608 | 13787.9571
25 | Anderson | Anderson-25 | 11526 | 5710 | 5816 | 9220.8 | 5995.5 | 3225.3 | 25247.8499 | 12582.9035 | 12664.9464
104 | Shawnee | Shawnee-104 | 9099 | 3796 | 5303 | 7279.2 | 3985.8 | 3293.4 | 24387.5357 | 16271.6186 | 8115.9171
127 | Shawnee | Shawnee-127 | 9099 | 3796 | 5303 | 7279.2 | 3985.8 | 3293.4 | 24387.5357 | 16271.6186 | 8115.9171
111 | Shawnee | Shawnee-111 | 9099 | 3796 | 5303 | 7279.2 | 3985.8 | 3293.4 | 23817.2061 | 15701.289 | 8115.9171
20 | Anderson | Anderson-20 | 10614 | 4107 | 6507 | 8491.2 | 4312.35 | 4178.85 | 22713.4766 | 14629.5818 | 8083.8947
22 | Anderson | Anderson-22 | 7129 | 2641 | 4488 | 5703.2 | 2773.05 | 2930.15 | 21364.51 | 9641.7644 | 11722.7456
21 | Anderson | Anderson-21 | 7129 | 2641 | 4488 | 5703.2 | 2773.05 | 2930.15 | 20932.5306 | 9641.7644 | 11290.7662
109 | Shawnee | Shawnee-109 | 4732 | 2641 | 2091 | 3785.6 | 2773.05 | 1012.55 | 20792.1271 | 9712.5639 | 11079.5633
95 | Tulsa | Tulsa-95 | 5415 | 2641 | 2774 | 4332 | 2773.05 | 1558.95 | 20583.5393 | 9712.5639 | 10870.9754
115 | Shawnee | Shawnee-115 | 6445 | 2769 | 3676 | 5156 | 2907.45 | 2248.55 | 18819.6386 | 12732.7007 | 6086.9379
124 | Shawnee | Shawnee-124 | 7960 | 3080 | 4880 | 6368 | 3234 | 3134 | 18640.6381 | 12553.7002 | 6086.9379
31 | Anderson | Anderson-31 | 9476 | 3322 | 6154 | 7580.8 | 3488.1 | 4092.7 | 18576.2203 | 12513.2992 | 6062.9211
33 | Anderson | Anderson-33 | 9476 | 3422 | 6054 | 7580.8 | 3593.1 | 3987.7 | 17800.7717 | 11737.8506 | 6062.9211
30 | Anderson | Anderson-30 | 4732 | 1757 | 2975 | 3785.6 | 1844.85 | 1940.75 | 17443.7755 | 8034.8036 | 9408.9719
118 | Shawnee | Shawnee-118 | 7960 | 3080 | 4880 | 6368 | 3234 | 3134 | 17094.9843 | 11008.0464 | 6086.9379
43 | Anderson | Anderson-43 | 3564 | 1420 | 2144 | 2851.2 | 1491 | 1360.2 | 14243.0066 | 6427.8429 | 7815.1637
23 | Anderson | Anderson-23 | 4732 | 1757 | 2975 | 3785.6 | 1844.85 | 1940.75 | 14097.9254 | 6427.8429 | 7670.0825
87 | Tulsa | Tulsa-87 | 4732 | 1757 | 2975 | 3785.6 | 1844.85 | 1940.75 | 14002.5943 | 6475.0426 | 7527.5517